Professional Home Inspectors, LLC

This report is CONFIDENTIAL.

It was prepared for the below-named

and is not intended for use by any other person.

2362 Brooks st

Richmond, California

August 06, 2005- 11:30 am

Report Number 26868

This Report Prepared for:

Barbara Hardaway

Inspected by Faz Farahani

Member: American Society of Civil Engineers

Member: American Society of Home Inspectors

If you are not named above and wish to use this report, we strongly urge that you retain Professional Home Inspectors or another qualified inspection firm for an on-site review of this building and report. This report is based on information obtained at the site. With time, conditions change and the information may no longer be accurate. We will return to the property and review the report with interested parties for an additional fee upon request. This offer is good for 6 months from the date of inspection, after which a complete reinspection should be performed.

This inspection was performed and this report produced according to the limitations and exclusions specified in the enclosed contract. In this contract our liability is limited to twice the cost of the inspection. Professional Home Inspectiors will, upon request, perform an inspection without this limit on liability for an additional fee.

This report does not provide substitute disclosure for any party. This report is copyrighted by Professional Home Inspectors. No part may be used or reproduced in any form or by any means without prior written consent of the Professional Home Inspectors. Areas obscured by furnishings were not accessible to inspection. These areas should be examined after the furnishings have been removed.

The terms “not accessible” and “inaccessible” when used in this report indicates uninspected components which may have hidden defects not observed or noted in this report. These areas are beyond the scope of this inspection and should be inspected after access is provided

# CONTENTS

- CONTENTS	2

INTRODUCTION	3

EXTERIOR	4

ROOFING	7

ATTIC SPACES	10

STRUCTURE	11

ELECTRICAL	14

PLUMBING	16

WATER HEATING	18

CENTRAL HEATING	19

INTERIOR	20

FIREPLACE AND CHIMNEY	22

KITCHEN	24

LAUNDRY	25

BATHROOMS	26

GARAGE	27

ENVIRONMENTAL	28

PRIMARY RECOMMENDATIONS	29

ENCLOSURES	32

# INTRODUCTION

## Property Description

We inspected the property at 2362 Brooks Ave in Richmond on August 6, 2005. The building is a single-family residence. This is a single-story structure. This report describes the building as viewed from the street.

The building site appears relatively level. The sky was clear at the time of our inspection.

Various modifications have been made to the building since its original construction. We recommend a permit history be obtained from the local building department to determine if modifications to the building were made with proper permits.

## General Comments

This report is a general overview of the structural components and major systems. It is not intended to be technically exhaustive in any one field. If further information is desired, specialists in the relevant fields should be retained to perform additional inspections.

A determination as to the presence of animal pests, rodents, termites, decay, or other wood destroying organisms is beyond the scope of this inspection. A qualified pest control firm should be contacted with any questions concerning the presence or treatment of these organisms. We are not qualified in these fields. Periodic examinations should be made by a licensed pest control firm as part of routine property maintenance.

We may make recommendations or suggestions in this report that differ from requirements by the local building department. For determinations as to what is permitted in this jurisdiction, the local building department should be consulted.

This report includes only those areas that are visually accessible and not areas that are made inaccessible by walls, concrete, earth, or any other obstacle to physical access or visual inspection, such as furniture or stored items. Defects in mechanical equipment not disclosed by our functional operation or visual inspection are not included. Items or conditions not mentioned in this report are not within the scope of this inspection. An examination of every window, door, light switch, outlet, water valve, etc., was not made.

At the end of this report we will list the recommendations we believe to be the most important. These recommendations should not be considered the only significant items. You should establish your own priorities after thoroughly studying this report, reviewing all the recommendations in the report, and consulting experts or specialists as desired.

# EXTERIOR

## Wood Siding

The building has horizontal wood siding. It is moderate to generally worn condition.

## Stucco Siding

There is stucco siding at the right front. It shows moderate wear.

Stucco consists of cement and sand plaster, reinforced with wire mesh, and installed over a water-resistant membrane. New stucco is typically pigmented rather than painted, and the surface may show absorption of moisture from rains. Stucco cracking is common and may be caused by movement in the wall framing, foundation settling, seismic activity, or stucco shrinkage. Minor cracks usually do not need repair and are normally filled when the stucco is painted. Cracks large enough to allow water entry should be caulked or patched. In relatively new construction, the bottom of the stucco typically has a metal edge called a "drip screed.” The soil surface should be maintained below this edge to prevent moisture and termite entry behind the stucco. In older buildings, the bottom of the stucco often extends below soil level and may conceal moisture or termite entry. These areas should be inspected regularly by a pest control firm.

## Paint

The exterior paint is peeling in several places. We recommend the exterior peeling surfaces be scraped, sanded, caulked, primed, and painted as needed.

## General Siding Conditions

There are gaps in the siding at several places. We recommend all openings in the building exterior be repaired to prevent rainwater entry.

## Porch

There is a concrete porch at the front.

The concrete is supported by wood framing.

Concrete, brick, tile, and other masonry stairs, landings, and decks are often supported by wood framing. A membrane is typically placed over the framing to prevent moisture entry and damage. The framing beneath should be regularly checked for signs of water penetration. Any cracks or openings in these surfaces should be caulked or filled to prevent water entry.

## Deck

There is a wooden deck at the rear.

Surfaces in this area are painted and could be slippery when wet. We recommend self-adhering strips or non-slip paint be applied to provide safer walking surfaces.

**Surface has been repainted with rough texture to prevent slipping.

Portions of the area beneath this are inaccessible to our inspection and defects may be present that were obscured from view.

Several pre-cast concrete pier blocks do not appear to be provided with adequate concrete footings, which may result in settling or movement. Concrete footings are typically required beneath all pre-cast concrete support piers. We recommend adequate footings be installed as needed.

Pre-cast concrete pier blocks typically require poured concrete footings to provide adequate support for the piers and framing above. The standard procedure is to excavate a hole into previously undisturbed soil and to fill the hole with concrete to support the pier block. Deep footings are required if the piers are over filled soil or if the pier is on a sloping site.

Regular maintenance can substantially extend the life and serviceability of wooden decks and staircases. Debris that accumulates between the deck boards can trap moisture, and should be periodically removed. Treating the deck with a good quality wood preservative may improve its appearance and extend its service life. There are firms that specialize in power washing and treating decks with preservatives and fungicides.

## Exterior Railings

The stairway does not have proper handgrip railings and the openings in the railings are too large according to modern safety standards. We recommend proper railings be installed as needed for safety.

Guardrails are not installed at the left rear. Guardrails are typically required in new construction when there is a drop-off of more than 30 inches. We recommend proper railings be installed as needed for safety.

Modern building standards call for guard railings at least 36 inches high at every deck, stair, or landing more than 30 inches above an adjacent surface, and for railing openings less than four inches in diameter. Large railing openings, which may allow a child to fall through, should be modified for safety. This standard was recently changed from six inches to four inches as it was found that small children could slip through a six-inch opening.

The openings in the guardrails are too large according to modern safety standards. We recommend proper railings be installed as needed for safety.

We have provided an enclosure at the end of this report describing proper handrail and guardrail design.

## Patios

There is a concrete patio at the rear.

It appears likely the unevenness in these surfaces is due to the presence of expansive, or adobe, soil, which is a common type of soil.

Expansive soils typically expand when wet and shrink upon drying, which can cause seasonal movement in patios, driveways, and walkways. Maintaining a consistent soil moisture content by periodically watering adjacent planted areas in summer can help reduce seasonal movement. We are not qualified to determine soil types or conditions. For a determination of the soil type and conditions in this area, a geologist or soils engineer should be consulted.

## Walkways

There are several concrete walkways that show typical surface cracking.

The front walkway is uneven, creating potential trip hazards. We recommend the walking surfaces be repaired as needed to provide for safe foot traffic.

## Driveway

There is a concrete driveway at the front. The driveway surface shows typical cracking.

## Grading and Drainage

There are indications of poor foundation area drainage in several places. We recommend the drainage be modified as necessary to properly drain the foundation area. A qualified drainage contractor should be consulted to determine the type of improvements best suited for the building.

## Landscaping

There is a large tree at the rear and we recommend it be examined by a tree surgeon. Regular care can extend the life of a tree and reduce the potential for falling branches.

## Fencing

There is wood fencing at the sides and rear. They show moderate wear.

# ROOFING

## Composition Shingle Roofing

The building has a composition shingle roof. It shows moderate wear.

Several shingles are damaged in several places.

The shingles are not properly woven at the valleys. The valleys should be checked periodically and cleaned or modified if necessary to prevent debris accumulation and roof leaks.

Worn Roofing: Roof surfaces that are in worn or poor condition may need replacement even if no leakage has occurred. Several factors should be considered when deciding if a roof surface needs replacement. A qualified roofing contractor should be consulted to determine if a roof is repairable, and if so at what cost. Will the roofer guarantee any proposed repairs? How long will the repairs extend the roof life? Could roof leakage cause significant interior damage? It is usually best to replace roof surfaces that show substantial wear.

## Modified Bitumen Roofing

There is a modified bitumen roof at the garage. It is in generally worn condition to poor condition.

Several of the seams are not properly welded together. We recommend each modified bitumen seam be checked and properly welded by a qualified roofer.

These surfaces are not protected from sun damage. We recommend proper compatible roof coatings be applied.

There are several blisters in this roof surface.

Blisters in built-up roofing are pockets of water vapor trapped within the roofing material. Blisters are typically caused by moisture or inadequate coverage of asphalt at the time of installation. Blisters may increase in size with time. Minor blistering is common in built-up roof systems. Major blistering is a significant defect that may necessitate roof replacement. Special care should be made to avoid stepping on blisters, as they are easily broken.

The mastic shows deterioration and is coming loose in several places.

The roofing has been patched in several places, possibly indicating previous roof leakage and subsequent repairs. A history of patching and other roof repairs should be obtained, including the name of the repair contractor and the extent of any leaks and related damage.

The garage roof surfaces do not appear repairable by practical means and we recommend new roofing and flashings be installed.

## Roof Access

We inspected the visible roofing materials and components after obtaining access with a ladder.

## Roof Drainage

Debris has accumulated in several places. Rain gutters should be cleared periodically as part of routine maintenance.

This roof has membrane-lined, raised fascia-style rain gutters.

The gutters are formed by a channel at the roof edge that is lined with the roofing membrane. The roof perimeter is more subject to wear and solar deterioration than other areas, and may require periodic coatings or repair by a qualified roofer.

We observed stains indicating previous ponding or standing water in the gutterways.

Drainage is provided by an opening in the front parapet wall.

A secondary overflow drain is not provided for the roof drain. We recommend secondary overflows be installed at the parapet drains to prevent deep flooding should the lower drain be obstructed.

Roof drains often become clogged with leaves or other debris and deep flooding, resulting in significant damage, may occur. In new construction, a secondary drain, installed two inches higher than the adjacent roof surface, is typically required to provide drainage if the lower drain becomes blocked. Secondary drains are rare in older construction. Unprotected drains should be checked frequently for debris, especially if there are overhanging trees. The installation of ¼-inch mesh screening formed into a U shape around the drain opening can help prevent drain blockage.

Several downspouts empty near the foundation walls. We recommend the downspouts be modified to direct rainwater away from the foundation.

Substantial water will flow from a roof and enter the foundation area unless it is directed away from the building perimeter, which is usually done by installing extensions or splash blocks for the downspouts. Subsurface drain piping may be needed in some areas to provide adequate drainage.

Splash blocks alone are not likely to be very effective in improving area drainage and additional drainage measures may be necessary.

We recommend periodic inspections be performed to assure roof drainage systems function properly. We advise walking around the building during or shortly after heavy rains to check for deficiencies in the roof and area drainage systems.

## Roof Flashings

The roof flashings are primarily sheet metal.

Sheet metal, rolled roofing materials, or sealing compounds such as mastic, are the typical flashing materials used to prevent water penetration at roof surface connections and penetrations. Flashings need periodic maintenance and should be inspected annually.

The flashing materials were mostly inaccessible to our inspection.

Mastic has been used at several roof flashing connections.

Mastic is a general term for fibered roofing cement, which is a thick roofing patching compound. Mastic is considered a temporary method to seal connections. Mastic dries out and cracks, typically requiring a new application every two to four years. Painting the mastic can help protect it from the sun and give a better appearance. The best procedure is to replace old metal flashings when a new roof is installed. It is common practice in some areas to leave old flashings in place and to cover them with mastic when applying new roofing over an existing roof surface.

The mastic is worn in several areas. We recommend these areas be properly sealed to prevent leakage.

The roof-chimney connection is improperly flashed. We recommend proper chimney flashings be installed.

## Roofing General

Roof surfaces, rain gutters, downspouts, and subsurface drain lines should be checked regularly. Leaves and other debris should be removed as needed. Gutter joints and connections may need periodic caulking or sealing. Screens can be installed at downspout gutter connections to keep debris from blocking the downspouts. We recommend periodic inspections be performed to be sure roof drainage systems function properly. We advise walking around the building during or shortly after heavy rains to check for deficiencies in the roof and area drainage systems.

This inspection addresses only the apparent visual condition of roofing materials, and does not include invasive testing or guarantee against present or future leakage. Annual examinations should be made by a qualified roofer for needed periodic maintenance and repair.

# ATTIC SPACES

## Attic

The attic access is located in the hall ceiling. Our inspection of the attic was limited to a visual examination from the access opening to prevent damage to the ceilings below.

The attic is framed with 2x (two-inch nominal dimension) rafters and ceiling joists. The rafters are overlaid with board sheathing.

There are several stains on the roof framing, which probably indicate previous leakage.

Several aspects of the attic framing are outdated and the framing appears undersized by modern standards. We recommend the attic framing be examined and reinforced as needed by a qualified contractor before new roofing or other weight is placed on the framing.

Electrical wiring has been placed on the top of the framing near the attic access opening without proper protection. We recommend proper protective strips be installed to protect the wiring near the access opening.

There is an open electrical box in the attic with exposed electrical connections and we recommend repair by a qualified electrician.

There are large unscreened openings at the right above the garage. We recommend these openings be screened to prevent animal entry.

A whole-house type fan has been installed. These fans can be very effective for cooling the house during the late afternoon or early evening hours. These fans are typically operated for 15 to 30 minutes to push out the hot attic air and draw in the cool air from the outside. We suggest the fan be disconnected in winter months and covered with insulation or a special insulated cover to prevent heat loss through this opening in the attic insulation layer.

The attic is not insulated. We recommend the attic be insulated to reduce energy costs and to increase comfort.

We observed knob and tube wiring in the attic.

**There is no knob and tube wiring in this house. See document from Fairmount Electric.

Special procedures should be followed prior to insulating an attic with knob and tube wiring, including an inspection of the wiring by a qualified electrician who can certify it as safe. A warning notice should be posted stating that live wiring is present beneath the insulation. One method to reduce the risk of wire overheating is to lower the amperage carried by the wiring. This can be done by installing 15-amp fuses or breakers to protect the circuits with knob and tube wiring. Buried wiring is inaccessible to our inspection. Some insurance underwriters will not approve coverage for properties where the knob-and-tube wiring has been covered with insulation. Other underwriters will not approve any building with knob and tube wiring. Consult your insurance carrier before adding attic insulation.

# STRUCTURE

## Foundation

The building is a wood-framed structure. The building has a raised perimeter concrete foundation with intermediate foundation walls and intermediate pier supports.

The foundation beneath the building appears to consist of both relatively modern, steel-reinforced concrete and older outdated portions. The older concrete does not appear to be steel-reinforced and probably does not have footings that extend deeply into the soil. Foundations of this type are typically more susceptible to cracking, settlement, deterioration from moisture entry, and earthquake damage.

We observed efflorescence in several places.

Efflorescence is a white powdery deposit that occurs on masonry or concrete and indicates the presence of moisture in contact with the masonry or concrete. Minor efflorescence is common even in new construction. Substantial efflorescence indicates a defective drainage condition.

We observed several cracks in the foundation walls, which appear typical for a building of this type and age.

Cracking is common in concrete walls. Minor cracks caused by shrinkage or settling can be found in even relatively new foundations. Moderate or larger cracks may indicate ongoing settling or movement and the eventual need for underpinning or foundation repair. There is no way to determine if a crack will grow in size or if new cracks will form. Most large cracks were once small. The best way to estimate the likelihood of future movement may be to monitor the number and size of cracks over a period of time.

Several structural modifications have been made to this foundation. Modifications of this kind typically require engineering. We recommend a complete history of structural modifications be obtained. All building permits, plans, and specifications for engineered installations should be obtained. Where possible, it should be determined if the engineer was present at the site to determine if the specifications were followed.

**See engineering documents from Paul Soltow of Central Engineering and Ziem    Construction for the work done.

We observed several uneven areas in the floors, which may indicate foundation movement or settlement. Some unevenness of this kind is not unusual in buildings of this type and age.

Future movement in the foundation and structure should be expected.

## Substructure Access

The subfloor access is located at the rear exterior. We recommend a security lock be installed on the subarea access door to prevent undesired access.

We inspected the subfloor areas by crawling beneath the accessible portions of the building floors.

Portions of the foundation were not accessible to our inspection.

Access is often obstructed by insufficient clearance beneath the floor framing, by ducting, pipes, stored items, finished wall surfaces, or other obstructions to visual examination. Wherever possible, access should be provided to these areas so that an inspection can be made. With access and opportunity for inspection, defects may be found in the inaccessible areas.

Our ability to fully examine the foundation and substructure framing was limited by ducting, pipes, floors, and other obstructions to our view.

## Framing

The primary floor framing consists of one-inch thick (nominal) decking boards installed over two-inch thick (nominal) joisting,  supported by perimeter and intermediate concrete walls.

Several aspects of the substructure framing are outdated and would be considered substandard according to modern construction practice. This framing may need modification during future seismic upgrading.

We observed several stains on the subarea framing, apparently indicating previous water entry or leakage. A current pest control report should be consulted concerning the presence of decay or other moisture-related damage.

Moisture stains indicate previous water penetration. Stains are commonly found around bathroom and kitchen waste piping and at the building perimeter, and may indicate previous leakage that has since been repaired. Any indications of active leakage or moisture-related damage should be promptly repaired by a qualified contractor.

Several of the subfloor area cripple walls are not braced. We recommend adequate bracing or shear paneling be installed by a qualified contractor to improve the building’s resistance to earthquake forces.

The installation of plywood bracing (often referred to as “shear paneling”) on wall framing provides earthquake and wind resistance. It is typically used on the walls between the foundation and floor framing and around garage door openings. The panels should be nailed at all edges and at the intermediate members. It may be necessary to add blocks between the vertical studs to get bearing on all edges of the plywood. Minimum nail spacing is usually six inches and engineers often recommend nailing every three or four inches for greater strength. Ventilation should be provided in each stud space when shear paneling is added to the inside of exterior subarea walls. Ventilation is usually provided by drilling two-inch diameter holes in the plywood at the top and bottom of each stud bay.

The foundation is equipped with anchor bolts.

Anchor bolts and other devices are used to secure the framing to the foundation to resist displacement during earthquakes or high winds. The modern standard calls for bolting at least every six feet, with bolts within the last twelve inches of each piece of sill plate. Buildings greater than one story or on hillsides may require additional bolts and other seismic devices.

We recommend a qualified engineer be retained to review the current upgrades and to design or specify any additional seismic improvements appropriate for the building.

## Substructure

The subarea ventilation is minimal. We recommend adequate subarea ventilation be provided.

Under-floor areas should be provided with ventilation openings that have an area not less than one square foot for each 150 square feet of under-floor area. Openings should be provided close to the corners and should provide cross ventilation. The vent openings should be distributed equally along the length of at least two opposite sides and should be covered with ¼-inch wire mesh. Four by fourteen inch vents are typically installed every six to eight feet. There are many ways to provide ventilation and the best method should be decided after consulting a qualified contractor or the local building department. If natural cross-circulation is not obtainable with vent openings, it may be necessary to install a mechanical venting system with fans and ducts.

**There are 4x10 vents all along the west side of the house and a large 36x18 vent on the east side.

The soil may be the expansive (adobe) type, which is a common soil condition.

Expansive soils typically expand when wet and shrink upon drying, which can cause seasonal movement in the foundations, walls, and floors. Modern foundations designed for expansive soils have piers that penetrate the soil to a deeper level where there is a more consistent moisture content. Maintaining a consistent soil moisture content by periodic watering of adjacent planted areas in summer and avoiding excessive subarea dampness in winter can help reduce seasonal movement. We are not qualified to determine soil types or conditions. For a determination of the soil type and conditions in this area, a geologist or soils engineer should be consulted.

The subfloor area was generally dry at the time of our inspection.

# ELECTRICAL

## Electrical Service

The main service wires run overhead above ground to the building at the front.

## Main Panel

The main breaker panel is at the left exterior. We estimate the capacity of this system to be 100 amps. Both 120- and 240-volt service is provided.

This panel has a 100-amp main circuit breaker disconnect. The wiring in this panel appears properly installed.

Wiring is installed in this panel without proper bushings or clamps to protect the wiring from being damaged by the sharp edge of the panel box. Wires should be provided with bushings and/or strain relief clamps where they enter panel box holes or openings. We recommend proper bushings or clamps be installed on the loose wiring by a qualified electrician.

The grounding system appears outdated and may not function effectively in some situations. We recommend a driven grounding rod be installed to upgrade the main panel grounding.

Modern electrical services are typically grounded to the water piping, a driven rod in the earth, and/or steel rods embedded in the foundation. Older electrical services are typically grounded only to the water piping. A grounding conductor is often visible at the main panel, but it is not possible to locate the grounding connection. The gas piping and other metallic interior piping should be bonded to the grounding system.

## Breaker Subpanel

There is a breaker subpanel located in the laundry area.

## Wiring

We observed Romex (nonmetallic sheathed cable or NMC), flexible metal cable (AC/MC), and some knob and tube wiring in the building.

**There is no knob and tube in this house. See document from Fairmount Electric.

Most buildings prior to the 1950s were wired with knob and tube systems. In some building jurisdictions, knob and tube wiring with plastic insulation was used until the 1960s. Over time, the brittle insulation on older wire breaks down, especially at ceiling mounted light fixtures as these lights expose the wiring to heat over a long period of time. The splices in knob and tube systems are soldered, and overloads can melt the solder, causing loose connections and a possible fire hazard. Using only 15-amp fuses or breakers can reduce the potential for overloading.

## Light Fixtures

The front at the front closet has an exposed bulb light fixture. Incandescent light fixtures should be used in closets only when located over the door or on the ceiling and at least twelve inches from storage areas. Exposed bulbs and pendant lights should not be used. We recommend fluorescent lights be used in closets as they are cooler and require less clearance from storage areas.

**The light bulb is a fluorescent energy safer bulb.

## Other Fixtures

Several ceiling fans have been installed. Ceiling paddle fans typically require special boxes for support and should not be supported solely by a lighting receptacle box. In most installations, an inspector cannot directly view the box supporting the fan. To determine if a paddle fan is properly supported, it may be necessary to consult a qualified electrician.

**All ceiling fans were installed with special boxes to support the fans.

## Receptacles and Switches

The receptacles are primarily the grounded three-hole type.

The number of outlets or receptacles available for use is fewer than required in new construction, which encourages the use of extension cords and can result in hazardous conditions. We recommend additional outlets be added as needed for convenience and safety.

**The only room with a single outlet is the dining room. All other rooms have at least 2 outlets per wall.

There are several GFCI-protected outlets. These outlets should be tested periodically by pressing the test and reset buttons on the outlet faces to ensure proper functioning.

Ground fault circuit interrupters are breakers or receptacle outlets designed to protect against electrical shocks. In recent years, most jurisdictions have required ground fault protection for outlets in bathrooms, exteriors, basements, and garages (except those in a designated appliance location such as for laundry equipment). Recent regulations require GFCI protection at all kitchen countertop and wet bar receptacles. A single GFCI receptacle may be used to protect other outlets downstream from it on the same circuit. GFCI outlets and breakers have test buttons that should be operated periodically to assure the devices are functioning properly.

# PLUMBING

## Main Water Supply

The main shutoff valve for the water supply is at the front exterior. The supply piping leading to the main valve is 1-inch galvanized steel.

We measured the water pressure at 76 pounds (PSI). Pressures between 40 and 80 pounds are considered to be in the normal range.

## Interior Water Piping

The water supply piping is mostly copper. There is some galvanized steel piping. Copper piping is considered superior to galvanized steel, as it is less susceptible to the accumulation of mineral deposits, which can reduce water flow. The extent to which this occurs depends on the type of water and the age of the piping. In the course of remodeling, it is generally best to replace older galvanized piping with copper, at least in the portions that are modified.

We observed a noticeable drop in the water flow at several plumbing fixtures when two or more valves were operated at the same time.

## Angle Stops

Angle stops are shutoff valves normally found beneath sinks and toilets in modern construction to provide a convenient disconnect in case of leakage, or to facilitate repairs. These shutoff valves are rarely used and may “freeze” in place or leak when operated. Angle stops should be operated periodically to keep the valves functional. We do not normally turn these valves during an inspection as this may cause them to leak.

## Exterior Piping

The hose faucets are not equipped with anti-siphon valves as is required in new construction. We recommend anti-siphon devices be installed to prevent the accidental flow of waste water into the water supply piping.

## Waste Piping System

The waste piping system is primarily cast iron and galvanized steel. The waste piping system has cast iron, galvanized steel, and copper piping. The waste drainage system appears to function properly.

The underground waste piping that runs from the building to the main sewer may be original, and piping of this age is often worn or damaged in the underground portions. Old sewer piping is often blocked or damaged by roots and other obstructions. We recommend a history of any previous drain blockages be obtained.

We recommend sewer laterals be examined for defects by a qualified plumber using special video equipment designed for this purpose.

**The sew lateral was replaced in 2002. All other drains under the house were replace at the same time. See Pipe Spy report.

There is a cleanout for the waste piping system at the left exterior.

## Gas

The gas meter is beneath the building at the left. The gas shutoff valve is outside near the meter.

## Plumbing General

Angle stops are shutoff valves normally found beneath sinks and toilets in modern construction. They provide a convenient disconnect in case of leakage and facilitate repairs. These shutoff valves are rarely used, and may “freeze” in place or leak when operated. Angle stops should be operated periodically to keep the valves functional. We do not normally turn these valves during an inspection as this may cause them to leak.

Waste piping should be cleaned out periodically to remove any accumulation of grease, hair, or dirt, and to help prevent future debris blockage and subsequent drainage failure. We do not inspect buried, or otherwise inaccessible, supply or waste piping.

The gas and water piping was not fully accessible and an examination of each connection was not made. The standard test for gas leakage is to have the piping pressure tested. This is sometimes required before the gas can be turned on after it has been disconnected. With testing and a close examination of all the piping, leaking or other defects may be found.

We recommend storing a large wrench near the main gas valve so the gas can be shut off quickly in an emergency. To shut off the gas, turn the valve 90 degrees so the handle is at a right angle to the pipe. Gas valves are often difficult to turn and the small earthquake wrenches sold at hardware stores may be too small to operate these valves easily. We recommend testing the valve periodically by turning it slightly to see if it moves. A plumber or the local utility company could adjust or lubricate this valve if necessary to allow for easy operation.

Plant watering and irrigation systems are not included in this inspection.

# WATER HEATING

## Water Heater

There is a 50-gallon gas-fired water heater in the garage. It shows moderate wear.

The water piping above the water heater is not bonded as is typically required in new installations. We recommend proper bonding clamps and wiring be installed for electrical safety.

The water heater has a temperature and pressure relief (TPR) valve.

A temperature and pressure relief (TPR) valve is a safety valve that releases excess pressure from the water heater in the event the regulator fails. It is an important safety device that can prevent a dangerous explosion. Hot water may occasionally drip or spray from the valve discharge pipe, triggered by changes in water pressure. Leaky valves may fail from encrusted mineral residue, and should be replaced. Most TPR valve manufacturers recommend the valve be tested once a year.

The water heater is equipped with seismic restraints to prevent movement during an earthquake.

## Water Heater Maintenance

It is important to avoid storing combustible items near water heaters and other gas-fired appliances.

The life of a water heater may be extended by periodically removing the sediment that builds up in the tank. Attach a garden hose to the drain valve at the bottom and open the valve until the water runs clear. Drain valves commonly drip, and can be repaired by installing a plastic cap. The temperature adjustment control should be kept in the middle range; the water temperature should never be set hot enough to scald someone accidentally. The life of a water heater may also be extended by replacement of the sacrificial anode. These are generally designed to last only five years. Replacement anodes can be obtained at plumbing supply stores.

# CENTRAL HEATING

## Furnace

There is a gas-fired, forced-air furnace in the subarea. It shows minor wear.

We operated the heating system and it appeared to function properly.

We did not locate the installation manual. The standard requirement is for these manuals to be attached to all new equipment. We recommend the operating manual be obtained and properly secured to the equipment.

The heat exchanger in the furnace was only partially accessible to visual inspection.

A heat exchanger is a metal chamber that encloses the flame and transmits heat to the circulating air. With age and use, cracks or rust holes can develop in heat exchangers. Fumes from the burners may flow through the exchanger wall and enter the living area. We advise installing carbon monoxide detectors in several interior rooms to warn occupants if the exchanger produces hazardous gases. Heat exchangers should be carefully examined as part of routine servicing. Only a small portion of a typical heat exchanger is accessible to visual inspection and we cannot guarantee the absence of cracking.

The furnace is equipped with a fan-powered, induced-draft, venting system.

The purpose of the fan is to draw the exhaust fumes through the heat exchanger to increase furnace efficiency. Induced draft furnaces of this type are typically rated in the plus 80% efficiency range, and are often referred to as “Plus-80” systems. The heat from burning natural gas, and the noncombusted gases or fumes, are drawn through tube-like or serpentine heat exchangers that have a large surface area. More efficient furnaces tend to operate at higher internal temperatures and the heat exchangers are exposed to moisture created by natural gas combustion. These conditions have led to premature heat exchanger failure in some furnaces after only five or ten years of use. These heat exchangers are almost completely inaccessible to inspection without furnace disassembly. We recommend annual inspections of these furnaces be made by a qualified heating contractor. Some manufacturers are covering the cost of heat exchanger replacement and we suggest copies of any warranties be obtained for future reference.

## Ducting

Warm air is distributed to the conditioned spaces through a ducting system.

A determination as to whether adequate heating is provided to all the interior spaces is beyond the scope of this inspection.

# INTERIOR

## Walls and Ceilings

The interior wall and ceiling surfaces are primarily sheet rock (gypsum board).

**Only the kitchen and bathroom are sheetrock, all other walls are lath and plaster.

There are several cracks in the interior surfaces. Surface cracking is common and periodic repair should be expected as part of routine maintenance.

Several of the interior surfaces appear recently painted.

## Floors

We observed no unusual sloping in the building floors. There are gaps at the rear bedroom door and we recommend it be repaired.

**The jam was installed after the inspection.

The floor finish is worn in several places. We recommend the floors be refinished as needed for appearance and to protect the floors from damage.

## Windows

The windows are primarily wood-framed windows.

The windows are primarily the dual-glazed or double pane energy efficient type.

Dual glazed windows reduce energy loss and noise transmission. A common problem with dual glazed windows is a failure in the seals, which allows moisture entry and allows condensation or fog to form between the panes of glass. This condition is often not visible during our inspection and can occur at different times due to changes in temperature. It is possible to have each window tested for seal failure. This determination is beyond the scope of our inspection. The only effective repair is typically windowpane replacement. Newer windows may be covered by the manufacturer’s warranty.

## Doors

Several of the building doorframes are noticeably unsquare, which is usually caused by foundation settling or movement.

## Smoke Detectors

We recommend additional smoke detectors be installed as needed to comply with modern fire safety standards.

We strongly urge all property residents to test smoke alarms by pressing the test button as soon they move into a new property and again each month. Most batteries should be changed every six months. This is easy to remember if you change batteries at the same time as you adjust your clocks for daylight savings time semi-annually. Smoke detectors should be installed on every floor and in hallways near sleeping areas. Most jurisdictions now require smoke detectors also be installed in each bedroom in new construction or when modifications exceeding $1,000 in value are made. Direct-wired smoke detectors should also have backup batteries so they will function in a power outage. Fire extinguishers should be provided in kitchens and garages for emergency use. We also suggest carbon monoxide detectors be installed in buildings with gas-fired heating systems.

## Interior General

We operated a representative sampling of the windows. All windows were not checked for proper functioning, cracked or broken glass, or for the presence or condition of screens. This inspection does not include areas that are obscured by furniture, carpets, coverings, or any other items.

We do not perform a survey of the floors for slope or uniform elevation as part of our standard inspection. We can return with special equipment and provide a floor level survey to determine the extent of floor slope for an additional fee upon request.

# FIREPLACE AND CHIMNEY

## Fireplace

There is a masonry fireplace in the living room.

The fireplace has a brick firebox.

Fireplaces should be checked periodically by a licensed chimney sweep or qualified chimney contractor. This should be done annually if they are used regularly (once a week or more). They should also be inspected after any indications of movement from settling or earthquake activity. Determinations as to whether fireplaces or chimneys have adequate draw, or are subject to smoking, or as to the soundness of chimney flue tiles, brickwork, or sheet metal are beyond the scope of our inspection.

There are several minor cracks in the firebox.

The throat area above the firebox was not accessible to our inspection and this area should be carefully examined by a qualified chimney repair contractor.

The fireplace has a damper.

The purpose of a damper is to block the flow of warm room air up the chimney when the fireplace is not in use. An open flue is comparable to an open window and will substantially reduce heating system efficiency. Dampers should be kept closed when fireplaces are not in use. Glass doors can also be used to serve the same function.

The damper is damaged and we recommend it be replaced.

The portion of the hearth that extends into the room is too small by modern standards. Persons using the fireplace should take special care to keep burning materials well inside the fireplace.

Several of the hearth extension bricks are loose.

## Chimney

The fireplace has a brick chimney.

Modern brick or concrete block chimneys are lined with clay tile or concrete sections mortared together. The purpose of the liner is to contain a potential chimney fire. Liners and the mortar that join them together may deteriorate with age and use, reducing their effectiveness. Flue liners are not typically accessible to visual examination. Tall chimneys that extend above the roofline may need to be braced to prevent movement, which can break the mortar, bricks, or liner. All older chimneys should be carefully checked by a qualified chimney contractor before building a fire (or before the close of escrow). Any flue that is inaccessible may contain a defective flue liner or the liner may have been omitted.

Most older masonry fireplaces and chimneys installed before 1970 do not have steel reinforcing and do not have the same strength or resistance to earthquakes, as do modern masonry or prefabricated chimneys. Older chimneys may have been subject to multiple seismic events and often have hidden cracks, breaks, damaged flue tiles, and other weaknesses not apparent during a general home inspection. The only way to determine if a fireplace and chimney are safe to use is to have a detailed inspection of the chimney and flue interior by a qualified specialist.

There are gaps at the chimney siding connection and we recommend repair to prevent water or weather entry. The mortar cap is damaged and we recommend it be repaired.

We applied moderate horizontal pressure on the chimney and observed no indications of significant looseness or movement in the portion that extends above the roof.

Other inspectors, chimney sweeps, or repair contractors may choose to apply stronger pressure on chimneys, which may actually weaken and damage the chimney. Excessive pressure, especially on older unreinforced chimneys can damage or even break them at the roofline. We suggest advising chimney repair persons or specialists to use reasonable caution when checking chimneys for damage.

We observed indications of settling in the chimney. Settling and differential movement between the chimney and the rest of the building is common in older buildings. Minor settling can cause cracks between the chimney and building exterior, allowing rainwater entry. The chimney should be monitored periodically for indications of future movement.

Minor settlement is not unusual in older masonry chimneys. Substantial settling may open cracks between the firebox and chimney, creating a potential fire hazard. Chimneys that have settled should be checked annually by a qualified chimney contractor to determine if they are safe to use. Small or moderate settling cracks in the firebox or chimney interior may be relatively simple to repair. Larger cracks or substantial settlement may require chimney replacement or removal.

The flue has a rain cap and spark arrester screen. The flue interior was mostly inaccessible to our inspection.

## Fireplace and Chimney General

We recommend a qualified fireplace contractor be retained to perform a safety inspection of the fireplace and chimney.

# KITCHEN

## Kitchen

The kitchen has ceramic tile countertops. The sinks are stainless steel. The sink waste piping leaks and we recommend repair. This sink is equipped with a disposer. The dishwasher shows moderate wear.

**The leak in the waste piping was repaired by Val Betti Plumbing on 8-23-2005

The dishwasher drain does not have an air gap (or anti-siphon device) and we recommend one be installed.

Air gaps are typically required when a new dishwasher is installed to assure separation between disposer or sink wastewater and the dishwasher. An air gap is typically mounted in a hole on the sink, and has flexible hoses that run to both the dishwasher and the disposer (or sink drain pipe if there is no disposer).

The kitchen has a gas range. There are several GFCI-protected receptacles in the kitchen, which is a good safety feature. The cabinets are in relatively new condition.

**The cabinets were installed 4-2004.

The kitchen has vinyl tile flooring.

# LAUNDRY

## Laundry

There is a laundry area near the kitchen. Operation and inspection of laundry equipment is beyond the scope of our inspection.

We recommend a catch pan and drain be installed beneath the washer to prevent damage that could occur should the washer leak or the drain overflow.

We suggest the clothes washer hose connectors be upgraded with metal-sheathed “no-burst” types to reduce the potential for hose failure.

Gas piping is provided for the clothes dryer. The laundry has vinyl tile flooring.

# BATHROOMS

## Bathroom

This bathroom has a combination bathtub and shower. The bathtub is cast iron. The ceramic tile shower walls show moderate wear.

We recommend the shower wall connections be carefully cleaned and caulked as needed.

The shower curtain is missing and we suggest one be installed. There is a noticeable drop in water flow at the shower when more than one valve is operated at a time.

There is a pedestal china sink. The sink is loose and we recommend it be secured.

There are flexible plastic water supply connectors at the sink. These connectors may fail and we recommend metal-sheathed, “burst proof” type connectors be installed to reduce the potential for leaks and water damage.

**The sink was re-secured by Val Betti Plumbing on 8-23-2005 with new no burst water lines and waste drains.

The toilet is loose from the floor and we recommend it be properly secured by a qualified plumber.

**The toilet was re-secured by Val Betti plumbing on 8-23-2005.

A loose toilet can cause water leakage and damage to the flooring. The seal at the base of the toilet also prevents entry of sewer gas (methane) into the living area. To reset a loose toilet, first disconnect the water supply, flush the toilet, and then remove the nuts from the bolts at the toilet base. Tilt the toilet and pour the water trapped in the toilet into a bucket, turn the toilet over and expose the wax seal at its base. Remove the old wax seal and install a new one. Before resetting the toilet, the flooring should be examined for damage and repaired if needed. Then, firmly reset the toilet on the bolts and tighten them carefully to avoid cracking the base. The toilet base and floor connection should be caulked with a bathroom grade sealant.

The flooring is stone tile. Ventilation is provided by a window and a fan. This room has a GFCI-protected receptacle.

There is no privacy latch on the door to this room and we recommend a latch be installed for convenience.

## General

Caulked joints should be checked frequently and recaulked as necessary. Proper caulking prevents water penetration and damage to walls and floors. Before caulk is applied, the surfaces should be cleaned carefully and any loose caulk should be removed. A good quality bathroom caulk, such as silicone, should be used. Bathrooms are areas of high humidity and special care should be exercised to keep them well ventilated. Windows should be left open when showering or bathing, and fan-powered vents should be used when available.

# GARAGE

## Garage

There is an attached garage at the front. Much of the garage interior was not accessible to our inspection due to stored personal belongings.

The garage has a roll-up style vehicle door. The vehicle door is difficult to operate and we recommend it be adjusted or repaired as needed to operate properly.

**Repairs scheduled for 9-13-2005.

The garage door has an automatic opener that reverses automatically when obstructed.

We did not locate any GFCI-protected receptacles in the garage as required in new construction. We recommend GFCI protection be added for greater electrical safety.

# ENVIRONMENTAL

## Hazardous Materials

Various potentially hazardous materials have been used in the construction of buildings over the years. Many naturally occurring materials and man-made building materials have been found to be hazardous or to have adverse environmental impact. These include but are not limited to asbestos, formaldehyde ,molds, lead paint, electromagnetic radiation, and radon. Buried fuel tanks may pose an environmental hazard. Hazardous materials, product liability, and environmental hazards are not included in the scope of our inspection. For information about hazardous materials, call the Environmental Protection Agency in San Francisco at (415) 744-1500.

## Mold and Fungus

A determination as to the presence of such organisms is beyond the scope of this inspection. We can return and collect samples for laboratory analysis for an additional fee upon request.

Some people are sensitive to molds and can become ill or experience mold-related health problems when exposed to molds in the air. The elderly, infants, and people who are immune compromised (people on chemotherapy, AIDS patients, etc.) are particularly susceptible to allergenic and potentially toxic molds. Molds are a type of fungus. They grow everywhere and can be found in almost every room or space. The presence of elevated interior mold activity typically indicates excessive moisture from interior or exterior sources and insufficient ventilation.

Mold conditions that you can see or smell should be corrected and the first step is to eliminate the source of moisture necessary for their growth. Mold growth can be prevented by keeping buildings dry. Molds can usually be removed easily from hard materials like glass or metal using a household cleaner. Softer materials, like sheet rock or wood, which contain cellulose, become food sources for mold, are difficult or impossible to clean effectively, and may need to be removed.

A determination as to the presence of mold or conditions conducive to its presence is beyond the scope of this inspection.

# PRIMARY RECOMMENDATIONS

## Property Description

We recommend a permit history be obtained from the local building department to determine if modifications to the building were made with proper permits.

## Paint

We recommend the exterior peeling surfaces be scraped, sanded, caulked, primed, and painted as needed.

## General Siding Conditions

There are gaps in the siding at several places. We recommend all openings in the building exterior be repaired to prevent rainwater entry.

## Deck

We recommend self-adhering strips or non-slip paint be applied to provide safer walking surfaces.

We recommend adequate footings be installed as needed.

**Done.

## Exterior Railings

We recommend proper railings be installed as needed for safety.

## Grading and Drainage

We recommend the drainage be modified as necessary to properly drain the foundation area.

## Landscaping

There is a large tree at the rear and we recommend it be examined by a tree surgeon.

## Modified Bitumen Roofing

We recommend each modified bitumen seam be checked and properly welded by a qualified roofer.

We recommend proper compatible roof coatings be applied.

The roof surfaces do not appear repairable by practical means and we recommend new roofing and flashings be installed.

## Roof Drainage

We recommend secondary overflows be installed at the garage parapet drains to prevent deep flooding should the lower drain be obstructed.

We recommend the downspouts be modified to direct rainwater away from the foundation.

## Roof Flashings

The mastic is worn in several areas. We recommend these areas be properly sealed to prevent leakage.

We recommend proper chimney flashings be installed.

## Attic

We recommend the attic framing be examined and reinforced as needed by a qualified contractor before new roofing or other weight is placed on the framing.

We recommend proper protective strips be installed to protect the wiring near the access opening.

There is an open electrical box in the attic with exposed electrical connections and we recommend repair by a qualified electrician.

There are large unscreened openings at the right exterior above the garage. We recommend these openings be screened to prevent animal entry.

We recommend the attic be insulated to reduce energy costs and to increase comfort.

## Foundation

We recommend a complete history of structural modifications be obtained.

**Done, documents available online.

## Substructure Access

We recommend a security lock be installed on the subarea access door to prevent undesired access.

## Framing

We recommend adequate bracing or shear paneling be installed by a qualified contractor to improve the building’s resistance to earthquake forces.

We recommend a qualified engineer be retained to review the current upgrades and to design or specify any additional seismic improvements appropriate for the building.

## Substructure

We recommend adequate subarea ventilation be provided.

**There are 4x10 vents every 8ft on west side and large 36x18 vent on east side.

## Main Panel

We recommend proper bushings or clamps be installed on the loose wiring by a qualified electrician.

We recommend a driven grounding rod be installed to upgrade the main panel grounding.

## Light Fixtures

We recommend fluorescent lights be used in closets as they are cooler and require less clearance from storage areas.

**Done.

## Receptacles and Switches

We recommend additional outlets be added as needed for convenience and safety.

**The dining room is the only room that does not have several outlets per wall.

## Exterior Piping

We recommend anti-siphon devices be installed to prevent the accidental flow of waste water into the water supply piping.

## Waste Piping System

We recommend a history of any previous drain blockages be obtained.

We recommend sewer laterals be examined for defects by a qualified plumber using special video equipment designed for this purpose.

**Done. See documents from Pipe Spy.

## Water Heater

We recommend proper bonding clamps and wiring be installed for electrical safety.

## Furnace

We recommend the operating manual be obtained and properly secured to the equipment.

## Floors

We recommend the floors be repaired and refinished as needed for appearance and to protect the floors from damage.

## Smoke Detectors

We recommend additional smoke detectors be installed as needed to comply with modern fire safety standards.

**There are smoke detectors in each bedroom and the living room. There is also a CO2 detector by the furnace vent in the dining room.

## Fireplace

The damper is damaged and we recommend it be replaced.

## Chimney

There are gaps at the chimney siding connection and we recommend repair to prevent water or weather entry.

The mortar cap is damaged and we recommend it be repaired.

## Fireplace and Chimney General

We recommend a qualified fireplace contractor be retained to perform a safety inspection of the fireplace and chimney.

## Kitchen

The sink waste piping leaks and we recommend repair.

**Done. See Val Betti Plumbing document.

The dishwasher drain does not have an air gap (or anti-siphon device) and we recommend one be installed.

## Laundry

We recommend a catch pan and drain be installed beneath the washer to prevent damage that could occur should the washer leak or the drain overflow.

## Bathroom

There are flexible plastic water supply connectors at the sink. These connectors may fail and we recommend metal-sheathed, “burst proof” type connectors be installed to reduce the potential for leaks and water damage.

**Done. See Val Betti Plumbing document.

The toilet is loose from the floor and we recommend it be properly secured by a qualified plumber.

**Done. See Val Betti Plumbing document.

There is no privacy latch on the door to this room and we recommend a latch be installed for convenience.

## Garage

The vehicle door is damaged and we recommend it be repaired as needed to operate properly.

**Scheduled for maintenance on 9-13-2005.

# ENCLOSURES

We have enclosed the following additional information. Please read carefully.

- Railing Safety

Thank you for using Professional Home Inspectors. If you have any questions or if we can be of further assistance, please do not hesitate to call us at (510) 332-7441.

For additional information please visit our website at www.professional-home-inspector.com